## EGR304-need-ratings-ballot
# | Category | Need statement | Type | Zice (1-5) | Gabriel (1-5) | Gao (1-5) | Average | Ratings in | Notes | Spread
1 | 1. Safety and Comfort | The device can be used safely by users with limited hand strength or dexterity. | latent | 4 | 5 | 3 | 4 | 3 |  | 2
2 | 1. Safety and Comfort | The device protects the user from injury if a mechanical failure occurs. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
3 | 1. Safety and Comfort | The device allows rehabilitation exercises to be performed without causing pain. | explicit | 5 | 5 | 4 | 4.67 | 3 |  | 1
4 | 1. Safety and Comfort | The device minimizes discomfort during assisted hand movement. | latent | 4 | 4 | 5 | 4.33 | 3 |  | 1
5 | 1. Safety and Comfort | The device performs exercises without placing excessive stress on the fingers. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
6 | 1. Safety and Comfort | The device applies force within a range tolerable for the user's hand. | latent | 5 | 4 | 5 | 4.67 | 3 |  | 1
7 | 1. Safety and Comfort | The device provides a secure, non-slip grip during use. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
8 | 1. Safety and Comfort | The device remains stable in the user's hand during exercise. | latent | 5 | 4 | 5 | 4.67 | 3 |  | 1
9 | 1. Safety and Comfort | The device is comfortable during repeated use. | explicit | 4 | 4 | 5 | 4.33 | 3 |  | 1
10 | 1. Safety and Comfort | The device accommodates users with hand pain. | latent | 4 | 3 | 4 | 3.67 | 3 |  | 1
11 | 1. Safety and Comfort | The device allows each finger to move without interfering with adjacent fingers. | latent | 4 | 3 | 4 | 3.67 | 3 |  | 1
12 | 1. Safety and Comfort | The device distributes its weight evenly while being held. | explicit | 3 | 2 | 2 | 2.33 | 3 |  | 1
13 | 1. Safety and Comfort | The device can be held in the correct testing position without excessive effort. | latent | 3 | 4 | 3 | 3.33 | 3 |  | 1
14 | 1. Safety and Comfort | The physical design allows the user to apply maximum grip force unimpeded. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
15 | 1. Safety and Comfort | The device keeps wear debris contained away from the user. | latent | 2 | 2 | 2 | 2 | 3 |  | 0
16 | 2. Resistance and Progression | The device allows the user to adjust resistance easily. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
17 | 2. Resistance and Progression | The selected resistance setting remains secure during use. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
18 | 2. Resistance and Progression | The device provides an exercise intensity appropriate for the user's ability. | explicit | 5 | 4 | 4 | 4.33 | 3 |  | 1
19 | 2. Resistance and Progression | The device provides resistance that matches the indicated setting. | explicit | 5 | 4 | 4 | 4.33 | 3 |  | 1
20 | 2. Resistance and Progression | The device maintains consistent resistance throughout its operating range. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
21 | 2. Resistance and Progression | The device communicates its available resistance clearly before purchase or use. | latent | 5 | 3 | 4 | 4 | 3 |  | 2
22 | 2. Resistance and Progression | The device provides a resistance level that can be changed rather than fixed at manufacture. | explicit | 4 | 4 | 4 | 4 | 3 |  | 0
23 | 2. Resistance and Progression | The device covers a range of resistance levels within a single unit. | latent | 3 | 5 | 5 | 4.33 | 3 |  | 2
24 | 2. Resistance and Progression | The device changes resistance without requiring the user to disassemble or reconfigure it. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
25 | 2. Resistance and Progression | The device changes resistance quickly enough to avoid interrupting an exercise session. | latent | 3 | 4 | 5 | 4 | 3 |  | 2
26 | 2. Resistance and Progression | The device adapts the exercise to the user's measured performance. | explicit | 3 | 5 | 4 | 4 | 3 |  | 2
27 | 2. Resistance and Progression | The device allows a clinician to define how the exercise progresses. | latent | 4 | 3 | 4 | 3.67 | 3 |  | 1
28 | 2. Resistance and Progression | The device allows the person exercising to select an authorized resistance level. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
29 | 2. Resistance and Progression | The device accommodates patients at different stages of rehabilitation. | latent | 3 | 5 | 5 | 4.33 | 3 |  | 2
30 | 2. Resistance and Progression | The device supports progression from lower to higher resistance as the user's strength improves. | latent | 3 | 4 | 4 | 3.67 | 3 |  | 1
31 | 3. Measurement and Data | The device measures grip force accurately. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
32 | 3. Measurement and Data | The device produces measurements consistent with clinical assessment equipment. | latent | 4 | 3 | 4 | 3.67 | 3 |  | 1
33 | 3. Measurement and Data | The device maintains stable calibration over time. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
34 | 3. Measurement and Data | The device measures the force the patient actually applies during exercise. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
35 | 3. Measurement and Data | The device records completed repetitions automatically. | explicit | 2 | 3 | 2 | 2.33 | 3 |  | 1
36 | 3. Measurement and Data | The device records grip-strength measurements at multiple points over time. | explicit | 3 | 3 | 2 | 2.67 | 3 |  | 1
37 | 3. Measurement and Data | The device shows the amount and direction of change between measurement sessions. | latent | 4 | 3 | 3 | 3.33 | 3 |  | 1
38 | 3. Measurement and Data | The device associates each measurement with the correct testing session. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
39 | 3. Measurement and Data | The device supports repeated daily grip-strength checks. | explicit | 4 | 4 | 4 | 4 | 3 |  | 0
40 | 3. Measurement and Data | The device produces results in a consistent format for day-to-day comparison. | latent | 4 | 4 | 3 | 3.67 | 3 |  | 1
41 | 3. Measurement and Data | The device completes a measurement with a minimal number of user actions. | explicit | 3 | 3 | 3 | 3 | 3 |  | 0
42 | 3. Measurement and Data | The device performs its advertised measurement functions reliably. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
43 | 3. Measurement and Data | The device stores multiple consecutive grip-force measurements without overwriting previous results. | explicit | 2 | 5 | 5 | 4 | 3 | We will decide on this based off hardware complexity | 3
44 | 3. Measurement and Data | The device remains powered on throughout an active sequence of measurements. | explicit | 2 | 3 | 3 | 2.67 | 3 |  | 1
45 | 3. Measurement and Data | The device supports continuous testing protocols without requiring manual recording after each measurement. | latent | 3 | 4 | 4 | 3.67 | 3 |  | 1
46 | 3. Measurement and Data | The device displays a grip-strength classification that corresponds to the measured result. | explicit | 4 | 5 | 4 | 4.33 | 3 |  | 1
47 | 3. Measurement and Data | The device distinguishes between below-normal, normal, and above-normal grip-strength results. | latent | 3 | 3 | 3 | 3 | 3 |  | 0
48 | 3. Measurement and Data | The device allows users to recover their training records after a failure or replacement. | latent | 2 | 4 | 2 | 2.67 | 3 |  | 2
49 | 4. Usability, Fit, and Accessibility | The device is operated through a small number of simple actions. | explicit | 4 | 4 | 5 | 4.33 | 3 |  | 1
50 | 4. Usability, Fit, and Accessibility | The device requires little or no training before use. | latent | 3 | 5 | 4 | 4 | 3 |  | 2
51 | 4. Usability, Fit, and Accessibility | The device provides clear guidance for performing different exercises. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
52 | 4. Usability, Fit, and Accessibility | The device helps the user select exercises that match different rehabilitation goals. | latent | 3 | 5 | 5 | 4.33 | 3 |  | 2
53 | 4. Usability, Fit, and Accessibility | The device is usable with either hand. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
54 | 4. Usability, Fit, and Accessibility | Resistance settings and exercise information remain visible during left- or right-handed use. | latent | 5 | 3 | 5 | 4.33 | 3 |  | 2
55 | 4. Usability, Fit, and Accessibility | The device accommodates users with different hand sizes. | explicit | 4 | 5 | 4 | 4.33 | 3 |  | 1
56 | 4. Usability, Fit, and Accessibility | The grip span of the device can be matched to the user's hand before exercising. | latent | 4 | 4 | 4 | 4 | 3 |  | 0
57 | 4. Usability, Fit, and Accessibility | The device accommodates different finger sizes and spacing. | explicit | 3 | 4 | 3 | 3.33 | 3 |  | 1
58 | 4. Usability, Fit, and Accessibility | The device accommodates users across different age groups. | explicit | 3 | 5 | 4 | 4 | 3 |  | 2
59 | 4. Usability, Fit, and Accessibility | The device can be operated by users with limited grip strength. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
60 | 4. Usability, Fit, and Accessibility | The stated device size corresponds to its actual fit. | explicit | 4 | 4 | 4 | 4 | 3 |  | 0
61 | 4. Usability, Fit, and Accessibility | The device provides enough fit information for the user to select an appropriate size. | latent | 5 | 4 | 5 | 4.67 | 3 |  | 1
62 | 4. Usability, Fit, and Accessibility | The device fits correctly without requiring product replacement. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
63 | 4. Usability, Fit, and Accessibility | The device can be prepared for use quickly. | explicit | 2 | 3 | 2 | 2.33 | 3 |  | 1
64 | 4. Usability, Fit, and Accessibility | The device can be set up by the user without assistance from a clinician. | latent | 2 | 5 | 2 | 3 | 3 | We need further research to determine if this device will be OTC | 3
65 | 4. Usability, Fit, and Accessibility | The device is ready to perform its intended functions on first use. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
66 | 5. Therapeutic Capability | The device supports rehabilitation of the hand and wrist. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
67 | 5. Therapeutic Capability | The device effectively strengthens the user's hand. | explicit | 5 | 4 | 5 | 4.67 | 3 |  | 1
68 | 5. Therapeutic Capability | The device exercises individual fingers independently. | explicit | 3 | 2 | 3 | 2.67 | 3 |  | 1
69 | 5. Therapeutic Capability | The device prevents stronger fingers from compensating for weaker fingers. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
70 | 5. Therapeutic Capability | The device supports simultaneous exercise of both hands. | explicit | 2 | 3 | 3 | 2.67 | 3 |  | 1
71 | 5. Therapeutic Capability | The device allows the user to train both hands under equivalent conditions. | latent | 4 | 3 | 3 | 3.33 | 3 |  | 1
72 | 5. Therapeutic Capability | The device supports rehabilitation of sensitive or weakened fingers. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
73 | 5. Therapeutic Capability | The device helps restore hand flexibility during rehabilitation. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
74 | 5. Therapeutic Capability | The device assists movement of hands with severely restricted mobility. | latent | 3 | 4 | 4 | 3.67 | 3 |  | 1
75 | 5. Therapeutic Capability | The device supports recovery of range of motion following loss of mobility. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
76 | 5. Therapeutic Capability | The device remains usable across the full range of exercises for which it is sold. | explicit | 4 | 5 | 5 | 4.67 | 3 |  | 1
77 | 5. Therapeutic Capability | The device provides all advertised rehabilitation functions. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
78 | 5. Therapeutic Capability | The device supports different rehabilitation operating modes. | latent | 1 | 3 | 2 | 2 | 3 |  | 2
79 | 5. Therapeutic Capability | The device helps the user relieve stress and tension. | explicit | 3 | 4 | 5 | 4 | 3 |  | 2
80 | 5. Therapeutic Capability | The device can be used without requiring the user's visual attention. | latent | 3 | 2 | 2 | 2.33 | 3 |  | 1
81 | 5. Therapeutic Capability | The device supports short, self-directed exercise sessions. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
82 | 6. Reliability and Support | The device withstands repeated use without structural failure. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
83 | 6. Reliability and Support | The construction quality of the device is evident to the user on first handling. | explicit | 5 | 3 | 5 | 4.33 | 3 |  | 2
84 | 6. Reliability and Support | The device feels solid and dependable during normal use. | latent | 5 | 4 | 5 | 4.67 | 3 |  | 1
85 | 6. Reliability and Support | The usable lifetime of the device matches what the user expects at purchase. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
86 | 6. Reliability and Support | The device maintains its material integrity at points of repeated contact. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
87 | 6. Reliability and Support | The device retains smooth and consistent motion throughout repeated use. | latent | 5 | 5 | 5 | 5 | 3 |  | 0
88 | 6. Reliability and Support | The device continues to function well beyond the first weeks of ownership. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
89 | 6. Reliability and Support | The device preserves its measurement and training functions after repeated use. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
90 | 6. Reliability and Support | The device operates reliably when received by the user. | explicit | 5 | 5 | 5 | 5 | 3 |  | 0
91 | 6. Reliability and Support | The device maintains functionality across its different operating modes. | latent | 3 | 4 | 3 | 3.33 | 3 |  | 1
92 | 6. Reliability and Support | The device maintains a consistent and familiar training experience following updates. | explicit | 2 | 3 | 2 | 2.33 | 3 |  | 1
93 | 6. Reliability and Support | The device preserves established exercise settings and progress following updates. | latent | 3 | 4 | 3 | 3.33 | 3 |  | 1
94 | 6. Reliability and Support | The device clearly communicates changes to exercises and performance feedback before they take effect. | latent | 3 | 3 | 3 | 3 | 3 |  | 0
95 | 6. Reliability and Support | The user receives timely assistance when a problem occurs. | explicit | 1 | 3 | 2 | 2 | 3 |  | 2
96 | 6. Reliability and Support | The device can be returned to normal operation with minimal interruption to the user's rehabilitation schedule. | latent | 3 | 5 | 4 | 4 | 3 |  | 2
97 | 7. Portability and Access | The device is portable and easy to transport. | explicit | 3 | 5 | 4 | 4 | 3 |  | 2
98 | 7. Portability and Access | The device can be used outside a clinical facility without permanent installation. | explicit | 5 | 4 | 5 | 4.67 | 3 |  | 1
99 | 7. Portability and Access | The device is affordable enough for an individual patient to own. | latent | 4 | 5 | 5 | 4.67 | 3 |  | 1
100 | 7. Portability and Access | The device allows the patient to exercise as often as the treatment plan requires without scheduling or travel barriers. | latent | 3 | 2 | 2 | 2.33 | 3 |  | 1